ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 1 of 6

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	aluminium baseboards

type ________

material:	 aluminium anodized E6 / EV1

width (in mm):	________ mm

height (in mm):	________ mm

lengths:	________ lfm

lfm / Euro	__,__	___,__	Euro

fabricator / proof of delivery:

ALU-PLAN® GmbH

Hohe Straße 7	e-mail: info@alu-plan.de

D-92245 Kümmersbruck	internet: http://www.alu-plan.de

Germany	phone: +49 (0)9624 / 92 234 345

or equivalent according

deliverty of

pos. ______	aluminium baseboards like preposition

alternativ	with a powder-coating

type ________-F

on RAL-Card K1 RAL ________ (without metallic-colors)

in metallic-color  RAL 9006  RAL 9007

in DB-color  701  702  703

lfm / Euro	__,__	___,__	Euro

deliverty of

pos. ______	section endings for the baseboards of the preposition

in form of a aluminum plate for the profile

to glue on the section end

___	exemplars	exemplars / Euro	__,__	___,__	Euro

deliverty of

pos. ______	section endings for the baseboards of the preposition

with a powder-coating

in form of a aluminum plate for the profile

to glue on the section end

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 2 of 6

delivery      assembly      installation	please delete unimportant informations

deliverty of

pos. ______	prefabricated outside-corner-profiles for the baseboards of the preposition

length 240 x 240 mm

welds cleanly and sanded

___	exemplars	Stück / Euro	__,__	___,__	Euro

deliverty of

pos. ______	prefabricated outside-corner-profiles for the baseboards of the preposition

with a powder-coating

length 240 x 240 mm

welds cleanly and sanded

___	exemplars	Stück / Euro	__,__	___,__	Euro

deliverty of

pos. ______	piping for the baseboards of the preposition

type ________

___	lfm	lfm / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 3 of 6

delivery      assembly      installation	please delete unimportant informations

manufacture the inside-corners – on stump	A_MI_S01

pos. ______	all inside-corners have to be mounted on stump

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the inside-corners – bevel cut	A_MI_G01

pos. ______	all inside-corners have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 4 of 6

delivery      assembly      installation	please delete unimportant informations

manufacture the outside-corners – with 90° cut	A_MA_90

pos. ______	all outside-corners have to be cut by an 90 degrees notch on the backside

first note the outside-corner angle on the profile..

clamp the profil into a work bench and manufacture the notch

with a applicable metal saw.

for a straight corner, 1/3 of the profile has to be weakened

all cuts have to be taken from the view side,

so that the scraps are on the back.

after bending the outside-corner it can be installed.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

attention:

do not back-bend the profile, otherwise the material breaks.

on the bending profiles could lose brightness.

this condition seems to be mandatory.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

manufacture the outside-corners – bevel cut	A_MA_G01

pos. ______	all outside-corners have to show a bevel cut

each with 2 cuts

all cuts have to be taken from the view side,

so that the scraps are on the back.

during the installation all visible lips have to be deburred cleanly

and be treated with a special lacquer.

___	exemplars	exemplars / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 5 of 6

delivery      assembly      installation	please delete unimportant informations

manufacture a permanent elastic joining	DEV

pos. ______	during the installation the lateral grooves have to be filled

with acryl in the color of the wall.

___	lfm	lfm / Euro	__,__	___,__	Euro

ALU-PLAN®	tender specifications	baseboards

G series / aluminium

page 6 of 6

delivery      assembly      installation	please delete unimportant informations

installation of the aluminium baseboards of the pre-position	A_M_G

pos. ______	fixed by wall-plug mounted 4 cm broad plastic-attachment-clips

in suitable height horizontal and flushed over floor- height.

all clips should be set in a distance of 50 - 60 cm.

pay attention with gypsum plasterboards that the clips

are mounted in front of the aluminum stands.

all unevennesses have to be adjusted. therefore use a gypsum

setting binder for gypsum boards.

the installation must take place on an exact meter tear on all walls,

for example by using a laser control unit.

all provided pipings have to be embedded before the installation.

difficult pipings can be made flexible by putting them in lukewarm water.

finaly all cut profiles can be mounted

by pressing them on the clips

further, the construction management should order

profile-protections (for example foil fixings) against

the paint- or plastering works.

all protectives have to be removed only on arrangement

by the construction management.

___	lfm	lfm / Euro	__,__	___,__	Euro